## Sheet1
Synergy Group
REQUEST FOR QUOTATION
Vendor Name |  | MODERN AUTOMATION & ENGINEERING PTE LTD |  | Supply Date | 11/18/2023 |  | Supply Port | OTHER - OTHER
PR Number |  | SPR/OSLO/E/23/166 |  | Vessel Name | OSLO - UOG OSLO |  | Priority | Within 1 week
PR Description |  | Top Urgent Auxiliary Boiler automation spares |  |  |  |  | PR Type | Spare
MACHINERY DETAILS
Machine Name |  | Boiler-BLR |  | Model | PB0302AS12 |  | Address
Maker |  | KANGRIM HEAVY INDUSTIRES CO. LTD. |  | Year Of Mfg. | 2010
Serial No |  | PBW08MP2144 |  | Hull No | 2144
Ship Builder |  | “Hyundai Mipo Dockyard Co.,Ltd“, Ulsan, S.Korea
SNo | Item Description |  | ItemNo. | ComponentNo./Part No. | Drawing No. | Req Qty. | UOM | Remarks
1 | AIR FLOW TRANSMITTER COMBUSTION AIR PRESS. |  | 13 |  |  | 1 | PIECES | AIR FLOW TRANSMITTER COMBUSTION PRESS.UNIT : mbar TYPE : SET47BINPUT SIGNAL : 4-20 mAName plate details: D.P.T harp Transmitter Model : EJA 110ASTYLE : S1 SUFFIX : EMS5B-99NN/KU2/M01supply 10.5 ~ 30 (42) V DCoutput : 4-20 mA DCcal RNG : 0- 60 kpaNO : 91F652094 626
2 | DIFF. PRESS. SWITCH FOR COMBUSTION AIR LOW PRESS |  | 21 |  |  | 1 | PIECES | DIFF. PRESS. SWITCH FOR COMBUSTION AIR LOW PRESS UNIT : mmAqType : 1950name plate detailsDWYER INSTRUMENTS, INC MICHIGAN CITY, IN 46360,U.S.A.IND.CONT. EQ.FOR HAZARDOUS. LOCATION CAT NO. 1950 -0 -2FDiaphragm vertical max PRess. 45 IN WC ( 11 kpa) Surge Press 10 psi ( 68kpa)temp. -40C TO 140 C ( -40 to 60C)Electrical rating 15A , 15, 250, 480 VAC 1/8 HP 15 VAC 1/4 HP 250 VAC