## Sheet1
Synergy Group
REQUEST FOR QUOTATION
Vendor Name |  | JOWA AB |  | Supply Date | 05/05/2024 |  | Supply Port | OTHER - OTHER
PR Number |  | SPR/INSV/E/24/065 |  | Vessel Name | INSV - UOG IOANNIS V |  | Priority | Within 1 month
PR Description |  | Drinking water UV sterlizer cabinet and other parts. |  |  |  |  | PR Type | Spare
MACHINERY DETAILS
Machine Name |  | UV STERLIZER |  | Model | JOWA UV1 |  | Address | JOWA AB,TULEBO 865,S-428 34 KALLERED , GOTHENBURG, SWEDEN,TEL:+46317265400,FAX:+46317954540,EMAIL:info@jowa.se
Maker |  | JOWA |  | Year Of Mfg.
Serial No |  |  |  | Hull No | (0307348)
Ship Builder |  | New Times Shipbuilding Co Ltd
SNo | Item Description |  | ItemNo. | ComponentNo./Part No. | Drawing No. | Req Qty. | UOM | Remarks
1 | UV LAMP |  | 7 | 37000-00011 | 37-0010-01-01 | 1 | PIECES | UV LAMP FOR UV STERLIZER 15W, GLASS,230V,50/60HZ.
2 | ELECTRICAL CABINET UV1 -COMNPL WITH CPU BOARD AND INTERFACE BOARD |  | 10 | 37000-00010 | 37-0010-01-01 | 1 | SETS | Electrical cabinet both the UV interface board and UV CPU board both are not working and HFO1 unit is also missing inside the cabinet.Need full set for the operation of the system.
3 | VIBRATION DAMPER |  | 9 | 37010-00023 |  | 3 | PIECES | SUPPORT DAMPERS ARE HARD AND BRITTLE
4 | U V SENSOR CONNECTOR |  | 6 | 37000-00012 |  | 1 | PIECES | SENSOR CONDITION UNKNOWN AS ALARM NOT WORKING
5 | SOL VALVE DN 25 |  | 5 | 22304-01000 |  | 1 | PIECES | SOL VALVE MALFUCTIONING