## Sheet1
Synergy Group
REQUEST FOR QUOTATION
Vendor Name |  | Aflex Ships Equipment Trading LLC |  | Supply Date | 06/05/2024 |  | Supply Port | OTHER - OTHER
PR Number |  | SPR/MARH/E/24/067 |  | Vessel Name | MARH - UACC MARAH |  | Priority | Within 1 month
PR Description |  | SEWAGE EJECTOR PUMP AND MOTOR SPARES. |  |  |  |  | PR Type | Spare
MACHINERY DETAILS
Machine Name |  | Sewage Vacuum Pump-SEWA3 |  | Model | 5,5/QSH101-1-184-F-W1 |  | Address
Maker |  | HAMWORTHY |  | Year Of Mfg. | 2011
Serial No |  | 11.00468.010 |  | Hull No | S 547 S 547
Ship Builder |  | ShinaSB Yard Co Ltd
SNo | Item Description |  | ItemNo. | ComponentNo./Part No. | Drawing No. | Req Qty. | UOM | Remarks
1 | SEWAGE EJECTOR PUMP WITH MOTOR |  |  |  |  | 1 | PER UNIT | SEWAGE EJECTOR PUMP WITH MOTORCENTRIFUGAL, OPEN BLADE IMPELLER FOR SOLIDS HANDLINGCAST IRON CASING; CAST IRON IMPELLER70M/HR @ 11M TOTAL HEAD440V, 60 HZ, 4.8KW,, 9.5 AMPS, IP55, CLASS F INSULATION, IEC FRAME
2 | MOTOR BEARING NO. 3306 AJ 03 |  | AJ 03 | SKF 3306 AJ 03 | 43203447 | 2 | PIECES | SEWAGE EJECTOR PUMP WITH MOTORCENTRIFUGAL, OPEN BLADE IMPELLER FOR SOLIDS HANDLINGCAST IRON CASING; CAST IRON IMPELLER70M/HR @ 11M TOTAL HEAD440V, 60 HZ, 4.8KW,, 9.5 AMPS, IP55, CLASS F INSULATION, IEC FRAME
3 | MECHANICAL SEAL ROTATING PART |  | EVAC000186 |  | 42619702 | 3 | PIECES | SEWAGE EJECTOR PUMP WITH MOTORCENTRIFUGAL, OPEN BLADE IMPELLER FOR SOLIDS HANDLINGCAST IRON CASING; CAST IRON IMPELLER70M/HR @ 11M TOTAL HEAD440V, 60 HZ, 4.8KW,, 9.5 AMPS, IP55, CLASS F INSULATION, IEC FRAME
4 | MECHANICAL SEALSTATIONARY PART |  |  |  | 42619702 | 3 | PIECES | SEWAGE EJECTOR PUMP WITH MOTORCENTRIFUGAL, OPEN BLADE IMPELLER FOR SOLIDS HANDLINGCAST IRON CASING; CAST IRON IMPELLER70M/HR @ 11M TOTAL HEAD440V, 60 HZ, 4.8KW,, 9.5 AMPS, IP55, CLASS F INSULATION, IEC FRAME
5 | CASING 'O' RING |  |  |  | 42030445 | 3 | PIECES | SEWAGE EJECTOR PUMP WITH MOTORCENTRIFUGAL, OPEN BLADE IMPELLER FOR SOLIDS HANDLINGCAST IRON CASING; CAST IRON IMPELLER70M/HR @ 11M TOTAL HEAD440V, 60 HZ, 4.8KW,, 9.5 AMPS, IP55, CLASS F INSULATION, IEC FRAME