## Sheet1
Synergy Group
REQUEST FOR QUOTATION
Vendor Name |  | LIAO YUAN MARINE SERVICE CO.,LIMITED |  | Supply Date | 05/03/2025 |  | Supply Port | OTHER - OTHER
PR Number |  | SPR/MNSR/E/25/041 |  | Vessel Name | MNSR - UACC MANSOURIA |  | Priority | Within 1 month
PR Description |  | Aux Boiler 1 Spares |  |  |  |  | PR Type | Spare
MACHINERY DETAILS
Machine Name |  | Boiler-BLR |  | Model | Saacke VKK MARINE BOILER |  | Address | SAACKE Gmbh, sudweststrasse 13 . 28237 Bremen GERMANYPhone +49 421 64 95 0email- info@saacke.dewww.saacke.com
Maker |  | Saacke Vkk Marine Boilers |  | Year Of Mfg. | 2013
Serial No |  | S546 |  | Hull No | S546
Ship Builder |  | SHINA Sb YARD CO. Ltd., Tongyeong, KOREA
SNo | Item Description |  | ItemNo. | ComponentNo./Part No. | Drawing No. | Req Qty. | UOM | Remarks
1 | Boiler feed water valve positioner SIPART PS2 , Maker: SIEMENS |  |  |  |  | 1 | PIECES | Valve Positioner for boiler feed waterMaker : SimensModel : 6DR5010-0NG00-0AA0S.W : 5.01.00HW : 1.00.03IW : 4-20 mAP=1.4..7 BARIA = -30 C +80 deg CSIMENS AG,DE-76181 KARSUHE
2 | flame detector FLUS 06 UV |  | 242 | 602164 | 0-9001-070197-60/3-32 | 1 | PIECES
3 | Safety relay SR3C AC230V |  | 115 | 612333 | 0-9001-070197-60/3-32 | 1 | PIECES
4 | CPU for fuel oil supply module, S7-200 |  | 94 | 632133 | 0-9001-070197-50-3/32 | 1 | PIECES | MAKER- SIEMENSSIMATIC S7-200CPU 224 214-1BD23-OXBO